| Cable Number (issued by Utilities Prior to Installation) |  |  | Date Requested |  |
| --- | --- | --- | --- | --- |
| Permit Requested By |  |  | Cable Function/Use |  |
| Originating Bldg. or Station: |  |  | Cable Description |  |
| Terminating Bldg. or Station: |  |  | Installers Name |  |
| Approved Routing by Station Nos. |  |  | Cable End User |  |

| SIGNATURES Approval to proceed with Installation |  |
| --- | --- |
|  | Supervisor, Mechanical Utilities or Designate |
|  | Director of Infrastructure Operations, AICT or Designate |

NOTE: Both signatures are required prior to permit being issued.

| This section is to be signed by installer upon completion and returned to U of A Utilities for inspection. |  |
| --- | --- |
| Date Completed: |  |
| Installer’s Signature: |  |
|  | Print Name Signature |
| RETURN COMPLETED FORM TO: Utilities, Room B-05 Heating Plant, University of Alberta, Edmonton, Alberta T6G 2N7 Telephone: 780.492.5713 |  |

GUIDELINES FOR INSTALLATION (In addition to existing specifications and standards)

- Prior to starting work, installer to provide required paper work to U of A Utilities and Communications.

- Installation must comply with all applicable codes including the U of A Data & Telecommunication Cable Installation Practices (this document available via the Utilities section of the Facilities and Operations Document Hub).

- Splices and slack coils not permitted in corridor

- All cables to be FT6 rated for fire retardancy.

- Cables to bear identification numbers at checkpoint locations indicated with red paint on cable trays and at building entry/exit locations.

- Approved marking system using a permanent marker.  Black marking directly applied to light colored cables and white or silver permanent marker to dark colored cables or laser printed cable specific wrap around labels.

- Do not install cables outside of designated tray.

- Secure cable properly at both ends of corners and offsets using Velcro fastener to prevent short circuiting.

- Secure cable properly at entry and exit points using Velcro fastener. Plastic Ty-Raps not permitted.

- Clean up daily and upon completion. Keep main corridor unobstructed to allow passage of motor bikes.

- Maintain security in corridor at all times. Keep all doors and hatches closed. Do not prop open.

- Installation permit must be available on-site.

- Installation will be inspected and redone by installer if guidelines not followed.

- Any damages by installer will be charged back to installer (e.g. aluminum cladding damaged by ladders etc).

- Problems? Contact the Mechanical Utilities Supervisor at 780.492.5713 or Electrical Supervisor at 780.492.5336.

| Inspected by Utilities: |  | Date: |  |
| --- | --- | --- | --- |

Comments:  Click here to enter text.