## Updated Config
Channel | Laser | Band (nm) | Fluorophores, Fluorescent dyes and proteins | Laser | Fluorophores, Fluorescent dyes and proteins | Panel
1 |  | 435-480 | BRIGHTFIELD
2 | Blue 488 nm | 480-560 | FITC, Alexa488, GFP, YFP, DyLight488, PKH67, Syto13, SpectrumGreen, LysoTrackerGreen, MitoTrackerGreen
3 |  | 560-595 | PE, PKH26, Cy3, dsRed, CellMask/CellTracker/SyTox Orange
4 |  | 595-642 | PE-TexRed*, ECD*, PE-AF610, RFP, Qdot625, eFluor625
5 |  | 642-745 | PE-Cy5*, PE-AF647*, 7AAD*, PI*, PerCP*, PerCP-Cy5.5*, eFluor650*, FuraRedlo, Draq5*, LDS751*
6 |  | 745-780 | PE-Cy7*, PE-AF750*
7 | Violet 405 nm | 435-505 | DAPI*, BV432, AF405, Hoechst, PacificBlue, CascadeBlue, eFluor 405, DyLight 405, CFP, Live/Dead Violet
8 |  | 505-570 | BV510*, PacificOrange, CascadeYellow, AF430,eFluor525, Qdot525
9 |  | 570-595 | BRIGHTFIELD
10 | Violet 405 nm | 595-642 | Qdot625*, eFluor625, BV605
11 |  | 642-745 | Qdot705*, eFluor700, BV711 | Red 640 nm | AF647, AF660, AF680, APC, Cy5, DyLight649, DyLight680, Draq5*, PE-AF647*, PE-Cy5*, PerCP*, PerCP-Cy5.5*
12 |  | 745-780 | Qdot800*, BV786 |  | APC-Cy7, APC-AF750, APC-H7, APC-eFluor750, Cy7, AF750, DyLight750, PE-Cy7*, PE-AF750*
Recommended dyes are in bold; For assistance with panel design, please contact the Flow Cytometry Core Manager: gmsiegers@ualberta.ca